SPECIALTY PRODUCTS AND LEASING

CERTIFICATE OF ANALYSIS

BUTANE

Lot Analysis

Liquid Phase Analysis

n-Butane		                  99.62 %

Methane    	                       	   <.01 PPM

Ethane	                               	   <.01 PPM

Propane	                	   <.01 PPM

Propylene		                <.01 PPM

Isobutane                            	     .30 PPM

Neo-pentane		                <.01 PPM                                             		                                                                 Isopentane	                            <. 01 PPM

n-Pentane		               <. 01 PPM

Hexane			               <.01  PPM

Benzene		              <0.00 PPM

Certified by: 	Alfonso Guzman				Date: 2/12/2025

Cylinder Serial Number(s)					       Batch Number

Size:     70/30 114#          NB-GI Gas                                         BU-02252025-I

003967QC, 010819QC, 011128QC, 717676UA, 408430D, 511296D

540685D, 703861UA, 011129QC

CUSTOMER PO#: 4892

Lot Number: BUT-021225-I-TP-GI

Specialty Products and Leasing 19329 South Lake Rd. Taft, CA. 93268